## Slide 1: Lab 2
Electron portion, based on TG25

## Slide 2: Cylindrical chamber shifts
For a cylindrical chamber the effective point of measurement is displaced towards the source from the centre of the chamber.
The magnitude of this displacement has been measured by using thin parallel-plate chambers, film dosimeters, or Fricke dosimeters in thin vessels and by suing a series of cylindrical probes of decreasing radii.

## Slide 3: Cylindrical chamber shifts
Shift : 0.5 rcav : electrons
0.6 rcav: photons
You can either apply this shift to the chamber while taking the measurement (as we did in the lab) or you can correct for the shift when processing the data (shown here).

## Slide 4: Electron PDD

## Slide 5: Electron ENERGY

## Slide 6: Electron PDD

## Slide 7: Practical Range

## Slide 8: Bremsstrahlung Contamination

## Slide 9: Electron energy

## Slide 10: Most probable energy

## Slide 11: Mean energy

## Slide 12: Energy at depth

## Slide 14: Converting PDI to PDD : shift

## Slide 15: Converting PDI to PDD : energy at depth
Strictly speaking, to find mean energy at depth or surface we need Rp and R50 from PDDs. In practice finding these values on the PDI graph is almost equivalent (within 1 mm).

## Slide 16: Converting PDI to PDD : Stopping power ratio
Remember that with ionization chambers, we are collecting ionization in the air cavity of the chamber.
Cavity theory
  In its simplest form, relates the ionization in air to dose in medium.
  Bragg-Gray: Ratio of doses in two media = ratio of stopping powers

## Slide 17: Converting PDI to PDD : Stopping power ratio
Assumptions in BG:
  The cavity must not disturb the charged particle fluence existing in the medium in the absence of the cavity.
  The absorbed dose in the cavity is deposited entirely by the charged particles crossing it.

## Slide 18: Converting PDI to PDD : Stopping power ratio
Spencer-Attix noticed that Bragg-Gray overestimates dose in the medium.
Electrons with energies less than 10 KeV do not have enough energy to cross over to the other side of normal ion chambers (rcav 3-6 mm). Therefore, all of their energy is deposited locally.
The difference between BG and SA is the use of restricted stopping power ratios (medium/air) rather than unrestricted stopping power ratios.

## Slide 19: Converting PDI to PDD : Replacement factor
  1st assumption : The cavity must not disturb the charged particle fluence existing in the medium in the absence of the cavity.
  Not true! For cylindrical chambers, we must correct for changes to fluence as a function of using the cavity.
  For cc13: radium = 3 mm.

## Slide 20: Converting PDI to PDD : Stopping power ratio
Energy spectrum of the high-energy electron beam, unlike that of an x-ray beam decreases in energy rapidly with depth in the absorbing medium, with a consequent change in stopping power (significant for air) with depth.